## Front
Client: | MSTJV |  |  | GROUNDWATER PROFILE LOG |  |  |  | Profile Location: |  |  | DPT24
| Started | Completed
Dates: | 2020-06-13 | 2020-06-14 | KPRO Box Serial # / Acquisition Laptop: |  | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas Drive
Location: | Marietta, GA |  |  | Sonde Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
CTS #: | 206201008 |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P transducer): | 70.588
Sampler(s): | DB & CS |  |  | Average Depth to Water: | -25.1623 |  |  |  | Gas Drive Pump N2 Pressure: | 60-70
PHYSICOCHEMICAL PARAMETERS
Depth | Date / Time | Volume Purged | Head | SC | DO | pH | ORP | COMMENTS
(ft) |  | (mL) | (ft) | (uS/cm) | (PPM) |  | (mV)
-50.3 | 06/13/2020:16:19:45 | 980 | -25.02 | 128 | 1.06 | 5.45 | 39 | PT is 1 hr & 40 min // x1 Stable.
-55 | 06/14/2020:10:30:01 | 860 | -25.219 | 214 | 0.17 | 7.04 | -241 | PT is 2 hr & 5 min // Pulled sample before stable @ client's request.
-60 | 06/14/2020:12:38:34 | 970 | -25.248 | 154 | 0.42 | 5.52 | 30 | PT is 1 hr & 6 min // Pulled sample before stable @ client's request.

## IK Behavior
Ik Behavior Log
| Client: | Trinity |  |  |  |  | Profile Location: |  | DPT24
| Date: | 2020-06-14 |  | KPRO Box Serial #: | 481APS05 |  |  | Gas Drive or Peri Pump: | Gas Drive
| Location: | Marietta, GA |  | Troll Serial #: | ZCRQT7055 |  |  | Atmospheric Pressure: | 37.584
| CTS #: | 206201008 |  | Drilling Contractor: | Cascade |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
| Sampler(s): | DB & CS |  | Depth to Water: | -38 |  |  | Gas Drive Pump N2 Pressure: | 60-70
| Depth | IK Behavior Type | gInt Numeral | Flow | Feet of Stainless Steel | Static IK | Time | Hole Termination Type | gInt Numeral | Comment
(ft)
#REF! | -47.7 | No Change When Hammer Stopped | 3 | 126.5177 | 80 | 2.245 | 6/13/2020:14:40:14 | NA | 11
#REF! | -49.862 | IK Decreased When Hammer Stopped | 1 | 127.6812 | 80 | 2.2753 | 6/13/2020:14:41:28 | NA | 11
#REF! | -50.667 | IK Decreased When Hammer Stopped | 1 | 98.9995 | 80 | 1.6045 | 6/13/2020:14:41:47 | NA | 11
#REF! | -50.7 | No Change When Hammer Stopped | 3 | 94.5747 | 80 | 1.5131 | 6/13/2020:14:42:05 | NA | 11
#REF! | -51.0036 | IK Decreased When Hammer Stopped | 1 | 76.678 | 80 | 1.1691 | 6/13/2020:14:42:45 | NA | 11
#REF! | -51.0036 | No Change When Hammer Stopped | 3 | 75.3327 | 80 | 1.1447 | 6/13/2020:14:42:55 | NA | 11
#REF! | -52.7 | No Change When Hammer Stopped | 3 | 9.6189 | 100 | 0.1278 | 6/14/2020:08:18:43 | NA | 11
#REF! | -55 | No Change When Hammer Stopped | 3 | 179.6141 | 100 | 4.8406 | 6/14/2020:08:20:04 | NA | 11
#REF! | -57.7 | No Change When Hammer Stopped | 3 | 185.9936 | 100 | 5.2974 | 6/14/2020:11:30:54 | NA | 11
#REF! | -59.9535 | No Change When Hammer Stopped | 3 | 134.292 | 100 | 2.6799 | 6/14/2020:11:33:18 | NA | 11
#REF! | -60 | No Change When Hammer Stopped | 3 | 134.0766 | 100 | 2.6726 | 6/14/2020:11:33:30 | NA | 11
#REF! | -61.9403 | IK Decreased When Hammer Stopped | 1 | 1.1565 | 100 | 0.0151 | 6/14/2020:13:16:07 | NA | 11
#REF! | -62 | No Change When Hammer Stopped | 3 | 2.7249 | 100 | 0.0357 | 6/14/2020:13:16:20 | NA | 11
#REF! | -62 | No Change When Hammer Stopped | 3 | 16.7528 | 100 | 0.2256 | 6/14/2020:13:17:38 | Sudden Hard Refusal | 10
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]IK Behavior

## Sample Attempt
Sonde Sample Attempt Log
| Client: | Trinity |  |  | Profile Location: |  | DPT-24 | 0
| Date: | 2020-06-14 | KPRO Box Serial #: | 481APS05 |  | Gas Drive or Peri Pump: | Gas
| Location: | Marietta, GA | Sonde Serial #: | ZCRQT7055 |  | Atmospheric Pressure: | 37.584
| CTS #: | 206201008 | Drilling Contractor: | Cascade |  | KPRO N2 Pressure (set via P tranducer): | 70.588
| Sampler(s): | DB & CS | Depth to Water: | -38 |  | Gas Drive Pump N2 Pressure: | 1
| Depth | Time | Unsuccessful Sample Attempt | gInt Numeral |  | COMMENTS
(ft)
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample Attempt

## Processed Ik
Measurement Time | Current Absolute Depth (Uncorrected) | Corrected Depth | Depth Rate | Flow | Feet of Stainless Steel Used | In line Pressure Sensor | IK
7062.71 | -45.053 | -45.055 | 0 | 188.015 | 80 | 56.696 | 4.453
7063.318 | -45.114 | -45.119 | 10.52 | 188.729 | 80 | 55.097 | 4.489
7063.929 | -45.164 | -45.171 | 8.595 | 188.997 | 80 | 55.912 | 4.503
7065.484 | -45.243 | -45.253 | 5.267 | 186.951 | 80 | 55.603 | 4.4
7066.103 | -45.335 | -45.35 | 15.559 | 181.828 | 80 | 54.578 | 4.153
7066.414 | -45.394 | -45.411 | 19.681 | 178.076 | 80 | 57.25 | 3.983
7066.726 | -45.449 | -45.468 | 18.306 | 171.736 | 80 | 64.226 | 3.713
7067.039 | -45.501 | -45.523 | 17.595 | 163.514 | 80 | 63.678 | 3.391
7067.347 | -45.554 | -45.578 | 17.687 | 154.985 | 80 | 60.152 | 3.088
7067.653 | -45.606 | -45.632 | 17.855 | 144.588 | 80 | 58.594 | 2.753
7067.958 | -45.658 | -45.687 | 17.941 | 132.545 | 80 | 56.725 | 2.405
7068.262 | -45.712 | -45.742 | 18.258 | 118.629 | 80 | 62.239 | 2.047
7068.565 | -45.765 | -45.799 | 18.566 | 107.924 | 80 | 76.485 | 1.798
7068.869 | -45.82 | -45.855 | 18.684 | 103.098 | 80 | 57.771 | 1.692
7069.172 | -45.875 | -45.913 | 19.005 | 100.483 | 80 | 56.759 | 1.636
7069.479 | -45.932 | -45.973 | 19.433 | 99.175 | 80 | 67.696 | 1.608
7069.789 | -45.989 | -46.032 | 19.069 | 103.077 | 80 | 59.49 | 1.691
7070.101 | -46.045 | -46.09 | 18.631 | 109.345 | 80 | 62.704 | 1.83
7070.412 | -46.099 | -46.147 | 18.349 | 114.076 | 80 | 62.347 | 1.939
7070.722 | -46.154 | -46.204 | 18.268 | 118.202 | 80 | 56.135 | 2.037
7071.033 | -46.207 | -46.26 | 18.006 | 124.905 | 80 | 57.258 | 2.203
7071.341 | -46.262 | -46.317 | 18.655 | 129.578 | 80 | 61.527 | 2.325
7071.649 | -46.321 | -46.379 | 19.933 | 129.401 | 80 | 61.329 | 2.321
7071.96 | -46.382 | -46.442 | 20.502 | 129.644 | 80 | 63.014 | 2.327
7072.278 | -46.444 | -46.506 | 20.122 | 130.807 | 80 | 61.211 | 2.358
7072.581 | -46.503 | -46.569 | 20.591 | 131.631 | 80 | 61.009 | 2.38
7072.885 | -46.56 | -46.628 | 19.547 | 129.544 | 80 | 62.332 | 2.324
7073.189 | -46.612 | -46.681 | 17.563 | 128.76 | 80 | 61.102 | 2.304
7073.796 | -46.699 | -46.773 | 15.044 | 133.179 | 80 | 60.945 | 2.423
7074.409 | -46.769 | -46.846 | 11.953 | 154.493 | 80 | 57.772 | 3.071
7075.029 | -46.828 | -46.907 | 9.84 | 173.635 | 80 | 56.011 | 3.791
7075.642 | -46.88 | -46.961 | 8.871 | 181.035 | 80 | 57.104 | 4.116
7076.259 | -46.93 | -47.014 | 8.508 | 181.144 | 80 | 57.029 | 4.121
7076.871 | -46.981 | -47.067 | 8.702 | 175.379 | 80 | 58.277 | 3.865
7077.495 | -47.034 | -47.122 | 8.839 | 170.353 | 80 | 59.245 | 3.656
7078.105 | -47.086 | -47.177 | 8.908 | 161.446 | 80 | 59.488 | 3.315
7078.717 | -47.144 | -47.237 | 9.828 | 156.937 | 80 | 59.919 | 3.155
7079.334 | -47.21 | -47.306 | 11.239 | 154.409 | 80 | 60.511 | 3.068
7079.956 | -47.284 | -47.383 | 12.411 | 144.277 | 80 | 61.021 | 2.744
7080.564 | -47.362 | -47.465 | 13.361 | 137.166 | 80 | 61.209 | 2.534
7081.172 | -47.441 | -47.547 | 13.481 | 126.098 | 80 | 61.65 | 2.234
7081.791 | -47.519 | -47.628 | 13.191 | 116.028 | 80 | 60.342 | 1.985
7082.41 | -47.588 | -47.7 | 11.596 | 124.186 | 80 | 61.552 | 2.185
7172.058 | -47.77 | -47.77 | 0 | 127.251 | 80 | 63.983 | 2.264
7172.681 | -47.875 | -47.877 | 17.087 | 117.247 | 80 | 64.006 | 2.014
7172.99 | -47.931 | -47.934 | 18.387 | 119.473 | 80 | 61.534 | 2.068
7173.302 | -47.985 | -47.988 | 17.474 | 122.108 | 80 | 64.947 | 2.133
7173.611 | -48.037 | -48.041 | 17.121 | 115.051 | 80 | 68.839 | 1.961
7174.219 | -48.133 | -48.138 | 15.944 | 90.98 | 80 | 69.171 | 1.441
7174.836 | -48.225 | -48.23 | 14.984 | 71.781 | 80 | 68.908 | 1.081
7175.453 | -48.32 | -48.326 | 15.548 | 58.621 | 80 | 65.633 | 0.856
7175.765 | -48.371 | -48.378 | 16.546 | 53.169 | 80 | 68.626 | 0.768
7176.085 | -48.424 | -48.432 | 16.753 | 52.652 | 80 | 69.933 | 0.759
7176.389 | -48.477 | -48.486 | 17.919 | 59.594 | 80 | 69.282 | 0.873
7176.693 | -48.531 | -48.541 | 17.937 | 67.727 | 80 | 68.319 | 1.01
7176.996 | -48.585 | -48.595 | 17.841 | 78.152 | 80 | 65.84 | 1.196
7177.302 | -48.637 | -48.648 | 17.3 | 86.052 | 80 | 63.716 | 1.344
7177.605 | -48.688 | -48.699 | 17.116 | 76.618 | 80 | 64.9 | 1.168
7178.214 | -48.786 | -48.799 | 16.263 | 49.096 | 80 | 73.277 | 0.703
7178.822 | -48.879 | -48.892 | 15.457 | 36.688 | 80 | 65.993 | 0.513
7179.435 | -48.969 | -48.983 | 14.792 | 42.897 | 80 | 68.96 | 0.607
7180.045 | -49.056 | -49.071 | 14.328 | 69.593 | 80 | 71.831 | 1.043
7180.654 | -49.137 | -49.153 | 13.482 | 83.37 | 80 | 72.74 | 1.293
7181.265 | -49.212 | -49.229 | 12.534 | 93.433 | 80 | 59.751 | 1.49
7181.873 | -49.285 | -49.302 | 12.007 | 61.118 | 80 | 62.607 | 0.898
7182.482 | -49.354 | -49.373 | 11.542 | 36.3 | 80 | 76.917 | 0.507
7183.099 | -49.423 | -49.442 | 11.324 | 30.629 | 80 | 75.046 | 0.423
7183.712 | -49.49 | -49.51 | 11.036 | 25.356 | 80 | 64.768 | 0.347
7184.334 | -49.555 | -49.576 | 10.533 | 54.719 | 80 | 70.884 | 0.793
7184.957 | -49.618 | -49.639 | 10.203 | 92.274 | 80 | 70.601 | 1.467
7185.575 | -49.678 | -49.7 | 9.808 | 121.03 | 80 | 66.687 | 2.106
7186.195 | -49.735 | -49.757 | 9.25 | 135.671 | 80 | 62.933 | 2.492
7187.129 | -49.801 | -49.825 | 7.221 | 131.779 | 80 | 67.743 | 2.384
7192.088 | -49.862 | -49.886 | 1.238 | 108.573 | 80 | 62.171 | 1.812
7193.382 | -49.927 | -49.952 | 5.113 | 132.355 | 80 | 59.973 | 2.4
7194.315 | -49.979 | -50.005 | 5.622 | 154.098 | 80 | 58.458 | 3.058
7195.249 | -50.035 | -50.061 | 6.052 | 166.868 | 80 | 55.02 | 3.519
7196.18 | -50.092 | -50.119 | 6.188 | 170.455 | 80 | 60.249 | 3.66
7197.106 | -50.148 | -50.175 | 6.065 | 177.549 | 80 | 57.125 | 3.959
7198.044 | -50.203 | -50.231 | 5.948 | 170.293 | 80 | 59.502 | 3.654
7198.973 | -50.259 | -50.288 | 6.161 | 164.263 | 80 | 65.454 | 3.419
7199.904 | -50.312 | -50.341 | 5.74 | 164.208 | 80 | 58.488 | 3.417
7201.137 | -50.377 | -50.407 | 5.337 | 167.318 | 80 | 60.456 | 3.536
7202.383 | -50.444 | -50.475 | 5.428 | 166.096 | 80 | 56.626 | 3.489
7203.318 | -50.5 | -50.531 | 6.019 | 171.117 | 80 | 58.043 | 3.687
7204.238 | -50.558 | -50.589 | 6.324 | 157.86 | 80 | 61.578 | 3.187
7205.183 | -50.614 | -50.646 | 5.993 | 168.897 | 80 | 60.215 | 3.598
7206.119 | -50.667 | -50.7 | 5.782 | 169.811 | 80 | 60.951 | 3.635
7260.63 | -50.764 | -50.764 | 0 | 158.322 | 80 | 59.939 | 3.203
7261.871 | -50.828 | -50.828 | 5.164 | 154.279 | 80 | 62.565 | 3.064
7263.119 | -50.887 | -50.887 | 4.69 | 146.654 | 80 | 59.819 | 2.817
7264.35 | -50.943 | -50.943 | 4.583 | 128.511 | 80 | 64.182 | 2.297
7265.868 | -51.004 | -51.004 | 3.973 | 114.828 | 80 | 63.567 | 1.956
2667.075 | -51.057 | -51.048 | 8.324 | 1.845 | 100 | 72.018 | 0.024
2667.695 | -51.108 | -51.099 | 8.15 | 7.769 | 100 | 71.545 | 0.103
2668.311 | -51.162 | -51.153 | 8.711 | 34.028 | 100 | 69.699 | 0.475
2668.928 | -51.216 | -51.206 | 8.562 | 56.54 | 100 | 68.823 | 0.836
2669.858 | -51.283 | -51.272 | 7.129 | 74.607 | 100 | 68.562 | 1.164
2670.788 | -51.34 | -51.328 | 6.05 | 83.671 | 100 | 67.855 | 1.345
2671.714 | -51.4 | -51.388 | 6.466 | 92.991 | 100 | 67.678 | 1.545
2672.649 | -51.467 | -51.454 | 7.026 | 91.612 | 100 | 67.378 | 1.515
2673.575 | -51.534 | -51.521 | 7.224 | 104.767 | 100 | 66.393 | 1.823
2674.51 | -51.603 | -51.589 | 7.286 | 104.6 | 100 | 67.057 | 1.819
2675.436 | -51.673 | -51.657 | 7.419 | 95.464 | 100 | 67.836 | 1.601
2676.366 | -51.742 | -51.725 | 7.308 | 81.243 | 100 | 68.922 | 1.295
2677.3 | -51.815 | -51.798 | 7.738 | 64.058 | 100 | 69.818 | 0.968
2678.23 | -51.888 | -51.87 | 7.811 | 50.463 | 100 | 70.251 | 0.734
2679.158 | -51.963 | -51.944 | 7.996 | 60.621 | 100 | 69.335 | 0.907
2679.776 | -52.015 | -51.995 | 8.236 | 49.615 | 100 | 71.524 | 0.72
2680.394 | -52.067 | -52.047 | 8.327 | 29.92 | 100 | 71.963 | 0.414
2681.014 | -52.119 | -52.099 | 8.37 | 16.51 | 100 | 73.009 | 0.222
2681.632 | -52.172 | -52.151 | 8.398 | 7.616 | 100 | 73.07 | 0.101
2682.25 | -52.224 | -52.202 | 8.327 | 3.302 | 100 | 73.572 | 0.043
2682.869 | -52.275 | -52.252 | 8.145 | 1.671 | 100 | 73.25 | 0.022
2683.805 | -52.349 | -52.326 | 7.863 | 0.864 | 100 | 73.345 | 0.011
2684.737 | -52.419 | -52.395 | 7.424 | 0.645 | 100 | 72.925 | 0.008
2685.664 | -52.485 | -52.461 | 7.063 | 0.574 | 100 | 73.365 | 0.008
2686.594 | -52.547 | -52.522 | 6.602 | 0.545 | 100 | 73.125 | 0.007
2687.525 | -52.606 | -52.58 | 6.25 | 0.53 | 100 | 73.283 | 0.007
2688.454 | -52.668 | -52.642 | 6.617 | 0.521 | 100 | 73.083 | 0.007
2689.38 | -52.727 | -52.7 | 6.284 | 6.056 | 100 | 72.513 | 0.08
2767.262 | -52.756 | -52.754 | 0 | 36.359 | 100 | 71.996 | 0.511
2768.506 | -52.808 | -52.805 | 4.045 | 55.069 | 100 | 70.671 | 0.811
2769.433 | -52.859 | -52.853 | 5.277 | 72.126 | 100 | 69.937 | 1.116
2770.672 | -52.922 | -52.914 | 4.868 | 84.567 | 100 | 68.958 | 1.364
2771.913 | -52.973 | -52.963 | 3.965 | 96.836 | 100 | 68.375 | 1.633
2773.775 | -53.032 | -53.02 | 3.053 | 98.105 | 100 | 68.595 | 1.662
2775.634 | -53.093 | -53.078 | 3.142 | 82.266 | 100 | 69.141 | 1.316
2777.496 | -53.148 | -53.132 | 2.872 | 100.378 | 100 | 67.987 | 1.716
2779.351 | -53.201 | -53.183 | 2.772 | 105.115 | 100 | 66.702 | 1.831
2780.902 | -53.258 | -53.238 | 3.534 | 117.529 | 100 | 66.238 | 2.16
2782.451 | -53.318 | -53.295 | 3.687 | 108.928 | 100 | 66.996 | 1.928
2784.003 | -53.368 | -53.344 | 3.135 | 104.516 | 100 | 66.829 | 1.816
2785.244 | -53.425 | -53.399 | 4.438 | 106.281 | 100 | 66.709 | 1.861
2786.18 | -53.477 | -53.449 | 5.326 | 133.949 | 100 | 60.675 | 2.668
2787.426 | -53.536 | -53.505 | 4.56 | 172.962 | 100 | 60.007 | 4.419
2788.668 | -53.591 | -53.559 | 4.307 | 178.114 | 100 | 59.825 | 4.741
2789.909 | -53.647 | -53.612 | 4.286 | 180.353 | 100 | 59.615 | 4.891
2790.839 | -53.697 | -53.661 | 5.239 | 179.614 | 100 | 59.515 | 4.841
2791.458 | -53.793 | -53.753 | 14.885 | 180.025 | 100 | 59.484 | 4.868
2792.077 | -53.893 | -53.85 | 15.663 | 180.279 | 100 | 59.428 | 4.886
2792.695 | -53.958 | -53.912 | 10.035 | 179.453 | 100 | 59.332 | 4.83
2793.624 | -54.018 | -53.97 | 6.245 | 178.824 | 100 | 59.313 | 4.788
2794.553 | -54.077 | -54.027 | 6.121 | 178.252 | 100 | 59.266 | 4.75
2795.482 | -54.134 | -54.082 | 5.957 | 178.739 | 100 | 59.298 | 4.782
2796.413 | -54.188 | -54.134 | 5.542 | 178.987 | 100 | 59.168 | 4.799
2797.345 | -54.241 | -54.185 | 5.44 | 177.939 | 100 | 59.096 | 4.73
2798.274 | -54.291 | -54.233 | 5.269 | 177.936 | 100 | 59.229 | 4.729
2799.199 | -54.342 | -54.283 | 5.314 | 178.852 | 100 | 59.183 | 4.79
2800.137 | -54.397 | -54.335 | 5.635 | 177.744 | 100 | 59.087 | 4.717
2801.067 | -54.452 | -54.388 | 5.669 | 178.044 | 100 | 59.148 | 4.736
2802.304 | -54.515 | -54.449 | 4.908 | 177.376 | 100 | 59.215 | 4.693
2803.531 | -54.577 | -54.508 | 4.836 | 177.86 | 100 | 59.052 | 4.724
2804.753 | -54.641 | -54.57 | 5.084 | 178.044 | 100 | 59.119 | 4.736
2805.67 | -54.695 | -54.622 | 5.667 | 177.647 | 100 | 59.076 | 4.711
2806.6 | -54.752 | -54.677 | 5.881 | 177.329 | 100 | 59.158 | 4.69
2807.529 | -54.804 | -54.727 | 5.388 | 177.849 | 100 | 59.07 | 4.724
2808.459 | -54.858 | -54.78 | 5.646 | 177.323 | 100 | 59.063 | 4.69
2809.388 | -54.92 | -54.839 | 6.429 | 177.527 | 100 | 58.976 | 4.703
2810.322 | -54.978 | -54.895 | 5.977 | 178.124 | 100 | 59.053 | 4.742
2811.253 | -55.035 | -54.95 | 5.865 | 178.27 | 100 | 59.055 | 4.751
2812.804 | -55.087 | -55 | 3.24 | 179.135 | 100 | 59.064 | 4.808
14212.69 | -55.059 | -55.059 | 0 | 184.74 | 100 | 54.411 | 4.807
14213.619 | -55.124 | -55.124 | 7.011 | 185.078 | 100 | 54.013 | 4.83
14214.55 | -55.193 | -55.192 | 7.305 | 185.62 | 100 | 54.122 | 4.868
14215.479 | -55.261 | -55.259 | 7.247 | 184.838 | 100 | 54.404 | 4.81
14216.409 | -55.33 | -55.328 | 7.45 | 184.754 | 100 | 54.01 | 4.808
14217.339 | -55.391 | -55.389 | 6.505 | 183.803 | 100 | 53.941 | 4.743
14218.269 | -55.449 | -55.446 | 6.163 | 184.613 | 100 | 53.84 | 4.799
14219.198 | -55.511 | -55.508 | 6.642 | 184.111 | 100 | 54.39 | 4.765
14220.126 | -55.576 | -55.573 | 7.002 | 185.376 | 100 | 53.937 | 4.851
14221.055 | -55.644 | -55.64 | 7.256 | 184.555 | 100 | 53.9 | 4.794
14221.983 | -55.711 | -55.707 | 7.233 | 184.732 | 100 | 54.048 | 4.807
14222.914 | -55.776 | -55.772 | 6.932 | 184.242 | 100 | 54.667 | 4.773
14223.843 | -55.841 | -55.836 | 6.912 | 184.013 | 100 | 53.986 | 4.758
14224.772 | -55.9 | -55.895 | 6.354 | 184.744 | 100 | 54.196 | 4.807
14225.705 | -55.953 | -55.948 | 5.616 | 184.809 | 100 | 54.173 | 4.812
14226.944 | -56.019 | -56.013 | 5.272 | 184.949 | 100 | 54.031 | 4.822
14228.183 | -56.082 | -56.076 | 5.095 | 184.124 | 100 | 53.777 | 4.765
14229.423 | -56.148 | -56.141 | 5.237 | 184.385 | 100 | 54.011 | 4.783
14230.356 | -56.199 | -56.192 | 5.481 | 184.701 | 100 | 54.409 | 4.804
14231.286 | -56.251 | -56.244 | 5.61 | 184.755 | 100 | 54.376 | 4.808
14232.218 | -56.304 | -56.297 | 5.615 | 185.716 | 100 | 54.468 | 4.875
14233.148 | -56.356 | -56.348 | 5.544 | 185.128 | 100 | 54.376 | 4.834
14234.077 | -56.407 | -56.399 | 5.42 | 185.077 | 100 | 53.748 | 4.83
14235.009 | -56.457 | -56.449 | 5.374 | 184.92 | 100 | 53.572 | 4.82
14235.94 | -56.507 | -56.499 | 5.385 | 185.565 | 100 | 53.698 | 4.864
14236.871 | -56.558 | -56.549 | 5.439 | 184.216 | 100 | 54.484 | 4.771
14237.798 | -56.609 | -56.6 | 5.482 | 184.488 | 100 | 53.909 | 4.79
14239.034 | -56.676 | -56.666 | 5.322 | 184.341 | 100 | 54.229 | 4.78
14240.274 | -56.739 | -56.729 | 5.103 | 184.803 | 100 | 54.186 | 4.812
14241.515 | -56.801 | -56.791 | 4.98 | 184.546 | 100 | 54.507 | 4.794
14242.753 | -56.863 | -56.852 | 4.906 | 184.93 | 100 | 53.88 | 4.82
14243.989 | -56.924 | -56.913 | 4.953 | 185.099 | 100 | 54.246 | 4.832
14245.23 | -56.987 | -56.976 | 5.065 | 184.843 | 100 | 53.766 | 4.814
14246.474 | -57.05 | -57.038 | 5.033 | 184.494 | 100 | 54.223 | 4.79
14247.715 | -57.117 | -57.105 | 5.338 | 184.579 | 100 | 54.14 | 4.796
14248.642 | -57.167 | -57.155 | 5.425 | 184.321 | 100 | 53.957 | 4.778
14249.57 | -57.218 | -57.205 | 5.386 | 184.444 | 100 | 53.939 | 4.787
14250.503 | -57.269 | -57.256 | 5.458 | 185.191 | 100 | 54.147 | 4.838
14251.429 | -57.32 | -57.307 | 5.521 | 184.684 | 100 | 54.195 | 4.803
14252.359 | -57.371 | -57.358 | 5.448 | 183.698 | 100 | 53.92 | 4.737
14253.29 | -57.422 | -57.408 | 5.385 | 184.822 | 100 | 54.197 | 4.813
14254.22 | -57.472 | -57.458 | 5.393 | 185.105 | 100 | 54.022 | 4.832
14255.465 | -57.537 | -57.522 | 5.144 | 184.658 | 100 | 53.917 | 4.802
14256.701 | -57.6 | -57.585 | 5.067 | 184.211 | 100 | 53.898 | 4.771
14257.94 | -57.66 | -57.644 | 4.814 | 184.01 | 100 | 54.406 | 4.757
14259.183 | -57.716 | -57.7 | 4.48 | 184.531 | 100 | 53.921 | 4.793
14333.89 | -57.753 | -57.754 | 0 | 181.867 | 100 | 53.337 | 4.616
14335.148 | -57.807 | -57.809 | 4.37 | 181.446 | 100 | 53.229 | 4.588
14336.392 | -57.857 | -57.861 | 4.175 | 180.279 | 100 | 53.124 | 4.514
14337.634 | -57.91 | -57.914 | 4.281 | 179.764 | 100 | 52.671 | 4.482
14338.876 | -57.962 | -57.967 | 4.309 | 179.125 | 100 | 53.13 | 4.442
14340.429 | -58.017 | -58.023 | 3.595 | 149.629 | 100 | 57.968 | 3.009
14341.983 | -58.073 | -58.081 | 3.717 | 156.888 | 100 | 55.67 | 3.303
14343.818 | -58.125 | -58.133 | 2.862 | 150.778 | 100 | 55.8 | 3.053
14346.285 | -58.177 | -58.187 | 2.177 | 157.121 | 100 | 55.217 | 3.313
14349.075 | -58.232 | -58.243 | 2.012 | 151.753 | 100 | 56.87 | 3.092
14351.557 | -58.284 | -58.296 | 2.117 | 153.328 | 100 | 56.312 | 3.155
14353.724 | -58.337 | -58.35 | 2.492 | 162.424 | 100 | 54.916 | 3.55
14355.892 | -58.39 | -58.404 | 2.521 | 163.431 | 100 | 55.227 | 3.597
14358.062 | -58.443 | -58.459 | 2.497 | 150.721 | 100 | 56.895 | 3.051
14360.231 | -58.497 | -58.514 | 2.534 | 131.106 | 100 | 57.944 | 2.377
14362.401 | -58.555 | -58.573 | 2.717 | 146.235 | 100 | 55.568 | 2.881
14364.568 | -58.614 | -58.632 | 2.757 | 158.819 | 100 | 55.732 | 3.387
14366.43 | -58.666 | -58.686 | 2.858 | 149.75 | 100 | 56.751 | 3.014
14368.296 | -58.719 | -58.74 | 2.941 | 145.178 | 100 | 56.792 | 2.843
14370.158 | -58.775 | -58.797 | 3.041 | 148.368 | 100 | 56.67 | 2.961
14372.013 | -58.832 | -58.855 | 3.13 | 149.238 | 100 | 56.451 | 2.994
14373.563 | -58.883 | -58.907 | 3.343 | 148.323 | 100 | 56.969 | 2.959
14375.114 | -58.937 | -58.963 | 3.612 | 142.283 | 100 | 57.635 | 2.74
14376.664 | -58.992 | -59.019 | 3.6 | 137.346 | 100 | 57.937 | 2.574
14378.216 | -59.051 | -59.079 | 3.85 | 128.53 | 100 | 58.566 | 2.3
14379.769 | -59.112 | -59.141 | 4.018 | 123.768 | 100 | 58.599 | 2.164
14381.322 | -59.172 | -59.202 | 3.962 | 116.678 | 100 | 59.4 | 1.974
14382.872 | -59.233 | -59.265 | 4.015 | 116.366 | 100 | 59.131 | 1.966
14384.425 | -59.294 | -59.327 | 3.984 | 121.684 | 100 | 59.392 | 2.106
14385.972 | -59.353 | -59.387 | 3.908 | 122.136 | 100 | 59.435 | 2.119
14387.52 | -59.409 | -59.444 | 3.698 | 130.351 | 100 | 56.15 | 2.355
14389.068 | -59.461 | -59.497 | 3.433 | 170.094 | 100 | 54.133 | 3.928
14391.53 | -59.517 | -59.554 | 2.315 | 159.961 | 100 | 56.016 | 3.437
14394.316 | -59.568 | -59.607 | 1.885 | 161.992 | 100 | 55.429 | 3.529
14397.104 | -59.623 | -59.662 | 1.984 | 159.607 | 100 | 55.65 | 3.421
14399.894 | -59.679 | -59.72 | 2.067 | 151.133 | 100 | 56.179 | 3.067
14402.376 | -59.737 | -59.779 | 2.37 | 143.86 | 100 | 56.508 | 2.796
14404.543 | -59.793 | -59.836 | 2.656 | 143.395 | 100 | 57.117 | 2.779
14406.392 | -59.845 | -59.889 | 2.847 | 144.429 | 100 | 56.432 | 2.816
14408.258 | -59.896 | -59.941 | 2.799 | 145.372 | 100 | 56.662 | 2.85
14410.416 | -59.953 | -60 | 2.728 | 133.431 | 100 | 58.154 | 2.449
20489.646 | -60.057 | -60.058 | 0 | 69.503 | 100 | 57.563 | 2.449
20491.814 | -60.11 | -60.113 | 2.538 | 71.066 | 100 | 57.475 | 2.43
20493.985 | -60.164 | -60.169 | 2.562 | 72.236 | 100 | 57.483 | 2.479
20496.162 | -60.222 | -60.229 | 2.758 | 73.287 | 100 | 57.447 | 2.523
20498.331 | -60.275 | -60.284 | 2.519 | 71.311 | 100 | 57.41 | 2.441
20500.828 | -60.328 | -60.338 | 2.162 | 72.044 | 100 | 57.432 | 2.472
20503.623 | -60.38 | -60.392 | 1.932 | 72.499 | 100 | 57.418 | 2.49
20506.41 | -60.433 | -60.447 | 1.969 | 68.18 | 100 | 57.42 | 2.312
20508.894 | -60.486 | -60.501 | 2.206 | 71.913 | 100 | 57.414 | 2.465
20511.035 | -60.537 | -60.553 | 2.423 | 68.19 | 100 | 57.4 | 2.312
20513.205 | -60.592 | -60.61 | 2.618 | 71.1 | 100 | 57.374 | 2.432
20515.379 | -60.649 | -60.669 | 2.697 | 68.746 | 100 | 57.324 | 2.335
20517.24 | -60.7 | -60.721 | 2.814 | 68.379 | 100 | 57.373 | 2.319
20519.098 | -60.751 | -60.774 | 2.859 | 72.123 | 100 | 57.345 | 2.474
20520.957 | -60.804 | -60.829 | 2.943 | 71.774 | 100 | 57.376 | 2.461
20522.82 | -60.858 | -60.884 | 2.968 | 70.952 | 100 | 57.34 | 2.426
20524.683 | -60.913 | -60.941 | 3.045 | 70.082 | 100 | 57.314 | 2.39
20526.547 | -60.969 | -60.999 | 3.111 | 70.82 | 100 | 57.329 | 2.421
20528.415 | -61.027 | -61.058 | 3.181 | 71.623 | 100 | 57.347 | 2.454
20530.26 | -61.085 | -61.118 | 3.257 | 69.918 | 100 | 57.344 | 2.383
20532.135 | -61.145 | -61.18 | 3.279 | 73.03 | 100 | 57.309 | 2.514
20533.685 | -61.195 | -61.232 | 3.34 | 69.921 | 100 | 57.321 | 2.383
20535.544 | -61.251 | -61.289 | 3.09 | 67.884 | 100 | 57.331 | 2.299
20537.713 | -61.304 | -61.344 | 2.542 | 70.131 | 100 | 57.326 | 2.392
20540.504 | -61.357 | -61.399 | 1.958 | 70.273 | 100 | 57.308 | 2.397
20543.609 | -61.412 | -61.456 | 1.834 | 69.318 | 100 | 57.29 | 2.359
20546.4 | -61.464 | -61.509 | 1.903 | 70.401 | 100 | 57.274 | 2.403
20548.88 | -61.515 | -61.561 | 2.109 | 71.372 | 100 | 57.286 | 2.443
20551.05 | -61.567 | -61.615 | 2.495 | 69.753 | 100 | 57.347 | 2.377
20553.221 | -61.625 | -61.675 | 2.725 | 70.011 | 100 | 57.341 | 2.388
20555.079 | -61.675 | -61.727 | 2.808 | 70.483 | 100 | 57.272 | 2.406
20556.946 | -61.727 | -61.78 | 2.836 | 69.17 | 100 | 57.316 | 2.352
20559.12 | -61.784 | -61.839 | 2.745 | 69.717 | 100 | 57.318 | 2.375
20561.29 | -61.838 | -61.894 | 2.533 | 66.707 | 100 | 57.32 | 2.25
20564.086 | -61.889 | -61.947 | 1.899 | 68.888 | 100 | 57.263 | 2.341
20570.603 | -61.94 | -62 | 0.807 | 52.41 | 100 | 58.859 | 1.698

## Ik Plot
Instructions
To Change the Plot
1. Right click on the plot area and click "select data"
2. Highlight "IK" and select "Edit".
3.Select the button to the right of the Series, then select the cells you want from the Processed IK Tab.
4. Do this for both X and Y. X is IK and Y is Corrected Depth. | 2017-06-20 14:14

## Sample 1
|  | Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
|  | Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
|  | CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
|  | Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[8 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
| Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
|  | (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[22 empty] | eH | Conversion | % Change
|  | -50.3 | 66.851 | 06/13/2020:15:02:14 | 70 | 47 | 0 | 5.79 | 0 | 6.37 | 0 |  |  | 30.87 | 0 | [6 empty] | 328 | 127 |  | 0 | 8
|  | -50.3 | 66.851 | 06/13/2020:15:09:07 | 150 | 47 | 0 | 5.27 | -8.981 | 6.35 | -0.314 | 127 |  | 30.8 | -0.227 | [6 empty] | 328 | 127 |  | 0 | 9
|  | -50.3 | 66.851 | 06/13/2020:15:14:55 | 210 | 48 | 2.128 | 5.03 | -4.554 | 6.27 | -1.26 | 130 | 2.3622 | 30.81 | 0.032 | [6 empty] | 331 | 130 |  | 0.915 | 10
|  | -50.3 | 66.851 | 06/13/2020:15:20:08 | 270 | 48 | 0 | 5.01 | -0.398 | 6.19 | -1.276 | 132 | 1.5385 | 30.9 | 0.292 | [6 empty] | 333 | 132 |  | 0.604
|  | -50.3 | 66.851 | 06/13/2020:15:25:33 | 310 | 53 | 10.417 | 4.51 | -9.98 | 6.08 | -1.777 | 136 | 3.0303 | 30.93 | 0.097 | [6 empty] | 337 | 136 |  | 1.201
|  | -50.3 | 66.851 | 06/13/2020:15:31:51 | 380 | 52 | -1.887 | 4.4 | -2.439 | 5.91 | -2.796 | 142 | 4.4118 | 30.96 | 0.097 | [6 empty] | 343 | 142 |  | 1.78
|  | -50.3 | 66.851 | 06/13/2020:15:36:52 | 440 | 53 | 1.923 | 3.58 | -18.636 | 5.77 | -2.369 | 146 | 2.8169 | 30.99 | 0.097 | [6 empty] | 347 | 146 |  | 1.166
|  | -50.3 | 66.851 | 06/13/2020:15:42:46 | 500 | 67 | 26.415 | 3.25 | -9.218 | 5.6 | -2.946 | 141 | 3.4247 | 31.1 | 0.355 | [6 empty] | 342 | 141 |  | -1.441
|  | -50.3 | 66.851 | 06/13/2020:15:47:53 | 560 | 96 | 43.284 | 2.86 | -12 | 5.5 | -1.786 | 111 | 21.2766 | 31.23 | 0.418 | [6 empty] | 312 | 111 |  | -8.772
|  | -50.3 | 66.851 | 06/13/2020:15:53:00 | 620 | 98 | 2.083 | 2.49 | -12.937 | 5.48 | -0.364 | 82 | 26.1261 | 31.35 | 0.384 | [6 empty] | 283 | 82 |  | -9.295
|  | -50.3 | 66.851 | 06/13/2020:15:58:54 | 700 | 92 | -6.122 | 2.16 | -13.253 | 5.46 | -0.365 | 64 | 21.9512 | 31.46 | 0.351 | [6 empty] | 265 | 64 |  | -6.36
|  | -50.3 | 66.851 | 06/13/2020:16:03:49 | 770 | 114 | 23.913 | 1.97 | -8.796 | 5.46 | 0 | 54 | 15.625 | 31.58 | 0.381 | [6 empty] | 255 | 54 |  | -3.774
|  | -50.3 | 66.851 | 06/13/2020:16:09:02 | 840 | 118 | 3.509 | 1.47 | -25.381 | 5.45 | -0.183 | 46 | 14.8148 | 31.6 | 0.063 | [6 empty] | 247 | 46 |  | -3.137
|  | -50.3 | 66.851 | 06/13/2020:16:14:56 | 910 | 121 | 2.542 | 1.14 | -22.449 | 5.43 | -0.367 | 43 | 6.5217 | 31.73 | 0.411 | [6 empty] | 244 | 43 |  | -1.215
28 | 1 | -50.3 | 66.851 | 06/13/2020:16:19:45 | 980 | 128 | 5.785 | 1.06 | -7.018 | 5.45 | 0.368 | 39 | 9.3023 | 31.73 | 0 |  |  | PT is 1 hr & 40 min // x1 Stable. |  |  |  | 240 | 39 |  | -1.639
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 1
Page _____ of _____
Row Number of Final Parameters
28

## Sample 2
|  | Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
|  | Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
|  | CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
|  | Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[8 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
| Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
|  | (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[22 empty] | eH | Conversion | % Change
|  | -55 | -25.219 | 06/14/2020:08:33:34 | 60 | 82 | 0 | 3.26 | 0 | 5.81 | 0 |  |  | 27.51 | 0 | [6 empty] | 303 | 97 |  | 0 | 8
|  | -55 | -25.219 | 06/14/2020:08:39:41 | 130 | 83 | 1.22 | 2.46 | -24.54 | 5.85 | 0.688 | 81 |  | 27.91 | 1.454 | [6 empty] | 287 | 81 |  | -5.281 | 9
|  | -55 | -25.219 | 06/14/2020:08:45:00 | 150 | 82 | -1.205 | 2.15 | -12.602 | 5.91 | 1.026 | 73 | 9.8765 | 28.3 | 1.397 |  |  | Significant sediment // Purging first few voas of sediment before collecting more parameters. Restarting the sample to 0 mL. |  |  |  | 275 | 73 |  | -4.181 | 10
|  | -55 | -25.219 | 06/14/2020:09:14:59 | 80 | 63 | -23.171 | 5.22 | 142.791 | 6.37 | 7.783 | 38 | 47.9452 | 27.03 | -4.488 | [6 empty] | 244 | 38 |  | -11.273
|  | -55 | -25.219 | 06/14/2020:09:19:55 | 140 | 60 | -4.762 | 4.33 | -17.05 | 6.46 | 1.413 | 37 | 2.6316 | 27.61 | 2.146 | [6 empty] | 243 | 37 |  | -0.41
|  | -55 | -25.219 | 06/14/2020:09:24:15 | 180 | 59 | -1.667 | 3.72 | -14.088 | 6.43 | -0.464 | 41 | 10.8108 | 27.99 | 1.376 | [6 empty] | 247 | 41 |  | 1.646
|  | -55 | -25.219 | 06/14/2020:09:30:38 | 260 | 54 | -8.475 | 3.76 | 1.075 | 6.32 | -1.711 | 50 | 21.9512 | 28.49 | 1.786 | [6 empty] | 252 | 50 |  | 2.024
|  | -55 | -25.219 | 06/14/2020:09:35:57 | 300 | 55 | 1.852 | 3.03 | -19.415 | 6.31 | -0.158 | 50 | 0 | 28.77 | 0.983 | [6 empty] | 252 | 50 |  | 0
|  | -55 | -25.219 | 06/14/2020:09:43:02 | 380 | 77 | 40 | 1.87 | -38.284 | 6.31 | 0 | 30 | 40 | 29.21 | 1.529 | [6 empty] | 232 | 30 |  | -7.937
|  | -55 | -25.219 | 06/14/2020:09:49:08 | 420 | 79 | 2.597 | 0.97 | -48.128 | 6.48 | 2.694 | -11 | 136.6667 | 29.28 | 0.24 | [6 empty] | 191 | -11 |  | -17.672
|  | -55 | -25.219 | 06/14/2020:09:55:13 | 500 | 131 | 65.823 | 0.37 | -61.856 | 6.56 | 1.235 | -68 | 518.1818 | 29.27 | -0.034 | [6 empty] | 134 | -68 |  | -29.843
|  | -55 | -25.219 | 06/14/2020:10:00:37 | 550 | 137 | 4.58 | 0.24 | -35.135 | 6.69 | 1.982 | -112 | 64.7059 | 29.19 | -0.273 | [6 empty] | 90 | -112 |  | -32.836
|  | -55 | -25.219 | 06/14/2020:10:06:36 | 610 | 181 | 32.117 | 0.22 | -8.333 | 6.79 | 1.495 | -157 | 40.1786 | 29 | -0.651 | [6 empty] | 45 | -157 |  | -50
|  | -55 | -25.219 | 06/14/2020:10:11:53 | 640 | 187 | 3.315 | 0.19 | -13.636 | 6.87 | 1.178 | -191 | 21.6561 | 29.12 | 0.414 | [6 empty] | 11 | -191 |  | -75.556
|  | -55 | -25.219 | 06/14/2020:10:18:44 | 720 | 209 | 11.765 | 0.18 | -5.263 | 6.95 | 1.164 | -214 | 12.0419 | 29.29 | 0.584 | [6 empty] | -12 | -214 |  | -209.091
|  | -55 | -25.219 | 06/14/2020:10:24:43 | 790 | 210 | 0.478 | 0.18 | 0 | 7.01 | 0.863 | -230 | 7.4766 | 29.45 | 0.546 | [6 empty] | -28 | -230 |  | 133.333
30 | 1 | -55 | -25.219 | 06/14/2020:10:30:01 | 860 | 214 | 1.905 | 0.17 | -5.556 | 7.04 | 0.428 | -241 | 4.7826 | 29.52 | 0.238 |  |  | PT is 2 hr & 5 min // Pulled sample before stable @ client's request. |  |  |  | -39 | -241 |  | 39.286
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 2
Page _____ of _____
Row Number of Final Parameters
30

## Sample 3
|  | Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
|  | Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
|  | CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
|  | Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[8 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
| Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
|  | (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[22 empty] | eH | Conversion | % Change
|  | -60 | -25.248 | 06/14/2020:11:43:49 | 80 | 48 | -77.57 | 5.64 | 3217.647 | 6.18 | -12.216 |  |  | 30 | 1.626 | [6 empty] | 263 | 61 |  | -774.359 | 8
|  | -60 | -25.248 | 06/14/2020:11:48:56 | 270 | 52 | 8.333 | 4.13 | -26.773 | 6.18 | 0 | 63 |  | 30.36 | 1.2 | [6 empty] | 264 | 63 |  | 0.38 | 9
|  | -60 | -25.248 | 06/14/2020:11:53:39 | 360 | 64 | 23.077 | 3.09 | -25.182 | 5.98 | -3.236 | 66 | 4.7619 | 30.48 | 0.395 | [6 empty] | 267 | 66 |  | 1.136 | 10
|  | -60 | -25.248 | 06/14/2020:11:58:40 | 470 | 86 | 34.375 | 1.91 | -38.188 | 5.79 | -3.177 | 55 | 16.6667 | 30.39 | -0.295 | [6 empty] | 256 | 55 |  | -4.12
|  | -60 | -25.248 | 06/14/2020:12:03:30 | 500 | 90 | 4.651 | 1.45 | -24.084 | 5.75 | -0.691 | 43 | 21.8182 | 30.44 | 0.165 | [6 empty] | 244 | 43 |  | -4.687
|  | -60 | -25.248 | 06/14/2020:12:08:25 | 530 | 98 | 8.889 | 1.25 | -13.793 | 5.74 | -0.174 | 35 | 18.6047 | 30.51 | 0.23 | [6 empty] | 236 | 35 |  | -3.279
|  | -60 | -25.248 | 06/14/2020:12:14:49 | 630 | 126 | 28.571 | 0.94 | -24.8 | 5.67 | -1.22 | 30 | 14.2857 | 30.52 | 0.033 | [6 empty] | 231 | 30 |  | -2.119
|  | -60 | -25.248 | 06/14/2020:12:20:31 | 730 | 136 | 7.937 | 0.72 | -23.404 | 5.64 | -0.529 | 29 | 3.3333 | 30.54 | 0.066 | [6 empty] | 230 | 29 |  | -0.433
|  | -60 | -25.248 | 06/14/2020:12:26:30 | 790 | 146 | 7.353 | 0.57 | -20.833 | 5.61 | -0.532 | 27 | 6.8966 | 30.81 | 0.884 | [6 empty] | 228 | 27 |  | -0.87
|  | -60 | -25.248 | 06/14/2020:12:32:41 | 880 | 150 | 2.74 | 0.49 | -14.035 | 5.56 | -0.891 | 29 | 7.4074 | 30.93 | 0.389 | [6 empty] | 230 | 29 |  | 0.877
24 | 1 | -60 | -25.248 | 06/14/2020:12:38:34 | 970 | 154 | 2.667 | 0.42 | -14.286 | 5.52 | -0.719 | 30 | 3.4483 | 30.93 | 0 |  |  | PT is 1 hr & 6 min // Pulled sample before stable @ client's request. |  |  |  | 231 | 30 |  | 0.435
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 3
Page _____ of _____
Row Number of Final Parameters
24

## Sample 4
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 4
Page _____ of _____
Row Number of Final Parameters
0

## Sample 5
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 5
Page _____ of _____
Row Number of Final Parameters
0

## Sample 6
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 6
Page _____ of _____
Row Number of Final Parameters
0

## Sample 7
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 7
Page _____ of _____
Row Number of Final Parameters
0

## Sample 8
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 8
Page _____ of _____
Row Number of Final Parameters
0

## Sample 9
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 9
Page _____ of _____
Row Number of Final Parameters
0

## Sample 10
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 10
Page _____ of _____
Row Number of Final Parameters
0

## Sample 11
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 11
Page _____ of _____
Row Number of Final Parameters
0

## Sample 12
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 12
Page _____ of _____
Row Number of Final Parameters
0

## Sample 13
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 13
Page _____ of _____
Row Number of Final Parameters
0

## Sample 14
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 14
Page _____ of _____
Row Number of Final Parameters
0

## Sample 15
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 15
Page _____ of _____
Row Number of Final Parameters
0

## Sample 16
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 16
Page _____ of _____
Row Number of Final Parameters
0

## Sample 17
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 17
Page _____ of _____
Row Number of Final Parameters
0

## Sample 18
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 18
Page _____ of _____
Row Number of Final Parameters
0

## Sample 19
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 19
Page _____ of _____
Row Number of Final Parameters
0

## Sample 20
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 20
Page _____ of _____
Row Number of Final Parameters
0

## Sample 21
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 21
Page _____ of _____
Row Number of Final Parameters
0

## Sample 22
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 22
Page _____ of _____
Row Number of Final Parameters
0

## Sample 23
| Client: | Trinity | [5 empty] | PARAMETER EQUILIBRATION LOG |  |  |  | Profile Location: |  | DPT-24
| Location: | 2020-06-14 |  |  |  |  | KPRO Box Serial #: | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| CTS #: | Marietta, GA |  |  |  |  | Troll Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| Sampler(s): | 206201008 |  |  |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P tranducer): | 70.588
[7 empty] | Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
Final? | Depth | Head | Date and Time | Volume Purged | SC | SC | DO | DO | pH | pH | ORP | ORP | Temp | Temp | Salinity | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) | (ft) |  | (mL) | (uS/cm) | %Change | (mg/L) | %Change |  | %Change | (mV) | %Change | deg C | %Change |  | %Change
[21 empty] | eH | Conversion | % Change
[22 empty] | -237 |  | 8
[22 empty] | -237 |  | 9
[22 empty] | -237 |  | 10
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
-237
\\cdlp-ttfile\Site_Characterization\PROJECT FOLDER\2020 PROJECTS\20.206201008 - KGS - MiHPT & APS - Marietta, GA AFP6\APS\MSTJV\[DPT24_Groundwater Profiling Log_MSTJV.xlsx]Sample 23
Page _____ of _____
Row Number of Final Parameters
0

## Groundwater Profile Log
2017-07-03 11:08
| Client: | Trinity |  |  | GROUNDWATER PROFILE LOG |  |  |  | Profile Location: |  |  | DPT-24
|  | Started | Completed
| Dates: | 2020-06-14 | 2020-06-14 | KPRO Box Serial # / Acquisition Laptop: |  | 481APS05 |  |  |  | Gas Drive or Peri Pump: | Gas
| Location: | Marietta, GA |  |  | Sonde Serial #: | ZCRQT7055 |  |  |  | Atmospheric Pressure: | 37.584
| CTS #: | 206201008 |  |  | Drilling Contractor: | Cascade |  |  |  | KPRO N2 Pressure (set via P transducer): | 70.588
| Sampler(s): | DB & CS |  |  | Average Depth to Water: | -38 |  |  |  | Gas Drive Pump N2 Pressure: | 1
PHYSICOCHEMICAL PARAMETERS
| Depth | Date / Time | Volume Purged | Head | SC | DO | pH | ORP | Temp | Salinity | COMMENTS | Aux 1 | Aux 2 | Aux 3
| (ft) |  | (mL) | (ft) | (uS/cm) | (PPM) |  | (mV) | deg C